## Tag List
Tag Name | Address | Data Type | Respect Data Type | Client Access | Scan Rate | Scaling | Raw Low | Raw High | Scaled Low | Scaled High | Scaled Data Type | Clamp Low | Clamp High | Eng Units | Description | Negate Value
BLK01.PLC.CONEX_2.INV1_AB_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_AB_PH_VLT | Float
BLK01.PLC.CONEX_2.INV1_ACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV1_ACT_PWR | Float
BLK01.PLC.CONEX_2.INV1_ANN_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV1_ANN_GEN | Float
BLK01.PLC.CONEX_2.INV1_B_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_B_PH_VLT | Float
BLK01.PLC.CONEX_2.INV1_BC_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_BC_PH_VLT | Float
BLK01.PLC.CONEX_2.INV1_CA_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_CA_PH_VLT | Float
BLK01.PLC.CONEX_2.INV1_CAB_TEMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_CAB_TEMP | Float
BLK01.PLC.CONEX_2.INV1_DC_BRK_STS | ns=2;s=BLK01.PLC.CONEX_2.INV1_DC_BRK_STS | Float
BLK01.PLC.CONEX_2.INV1_DC_PWR_IP | ns=2;s=BLK01.PLC.CONEX_2.INV1_DC_PWR_IP | Float
BLK01.PLC.CONEX_2.INV1_DLY_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV1_DLY_GEN | Float
BLK01.PLC.CONEX_2.INV1_DLY_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV1_DLY_RUN_TIME | Float
BLK01.PLC.CONEX_2.INV1_FRQ | ns=2;s=BLK01.PLC.CONEX_2.INV1_FRQ | Float
BLK01.PLC.CONEX_2.INV1_GRID_STS | ns=2;s=BLK01.PLC.CONEX_2.INV1_GRID_STS | Float
BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_CRT | Float
BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_PWR | Float
BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_VLT | Float
BLK01.PLC.CONEX_2.INV1_MPPT1_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_NEG_INS_IMP | Float
BLK01.PLC.CONEX_2.INV1_MPPT1_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_POS_INS_IMP | Float
BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_CRT | Float
BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_PWR | Float
BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_VLT | Float
BLK01.PLC.CONEX_2.INV1_MPPT2_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_NEG_INS_IMP | Float
BLK01.PLC.CONEX_2.INV1_MPPT2_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_POS_INS_IMP | Float
BLK01.PLC.CONEX_2.INV1_PF | ns=2;s=BLK01.PLC.CONEX_2.INV1_PF | Float
BLK01.PLC.CONEX_2.INV1_R_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_R_PH_VLT | Float
BLK01.PLC.CONEX_2.INV1_REACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV1_REACT_PWR | Float
BLK01.PLC.CONEX_2.INV1_RUN_STS | ns=2;s=BLK01.PLC.CONEX_2.INV1_RUN_STS | Float
BLK01.PLC.CONEX_2.INV1_STS2 | ns=2;s=BLK01.PLC.CONEX_2.INV1_STS2 | Float
BLK01.PLC.CONEX_2.INV1_STS3 | ns=2;s=BLK01.PLC.CONEX_2.INV1_STS3 | Float
BLK01.PLC.CONEX_2.INV1_TOT_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV1_TOT_GEN | Float
BLK01.PLC.CONEX_2.INV1_Y_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_Y_PH_VLT | Float
BLK01.PLC.CONEX_2.INV1_TOT_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV1_TOT_RUN_TIME | Float
BLK01.PLC.CONEX_2.INV2_AB_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV2_AB_PH_VLT | Float
BLK01.PLC.CONEX_2.INV2_ACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV2_ACT_PWR | Float
BLK01.PLC.CONEX_2.INV2_ANN_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV2_ANN_GEN | Float
BLK01.PLC.CONEX_2.INV2_B_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV2_B_PH_VLT | Float
BLK01.PLC.CONEX_2.INV2_BC_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV2_BC_PH_VLT | Float
BLK01.PLC.CONEX_2.INV2_CA_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV2_CA_PH_VLT | Float
BLK01.PLC.CONEX_2.INV2_CAB_TEMP | ns=2;s=BLK01.PLC.CONEX_2.INV2_CAB_TEMP | Float
BLK01.PLC.CONEX_2.INV2_DC_BRK_STS | ns=2;s=BLK01.PLC.CONEX_2.INV2_DC_BRK_STS | Float
BLK01.PLC.CONEX_2.INV2_DC_PWR_IP | ns=2;s=BLK01.PLC.CONEX_2.INV2_DC_PWR_IP | Float
BLK01.PLC.CONEX_2.INV2_DLY_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV2_DLY_GEN | Float
BLK01.PLC.CONEX_2.INV2_DLY_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV2_DLY_RUN_TIME | Float
BLK01.PLC.CONEX_2.INV2_FRQ | ns=2;s=BLK01.PLC.CONEX_2.INV2_FRQ | Float
BLK01.PLC.CONEX_2.INV2_GRID_STS | ns=2;s=BLK01.PLC.CONEX_2.INV2_GRID_STS | Float
BLK01.PLC.CONEX_2.INV2_MPPT1_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT1_IP_DC_CRT | Float
BLK01.PLC.CONEX_2.INV2_MPPT1_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT1_IP_DC_PWR | Float
BLK01.PLC.CONEX_2.INV2_MPPT1_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT1_IP_DC_VLT | Float
BLK01.PLC.CONEX_2.INV2_MPPT1_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT1_NEG_INS_IMP | Float
BLK01.PLC.CONEX_2.INV2_MPPT1_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT1_POS_INS_IMP | Float
BLK01.PLC.CONEX_2.INV2_MPPT2_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT2_IP_DC_CRT | Float
BLK01.PLC.CONEX_2.INV2_MPPT2_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT2_IP_DC_PWR | Float
BLK01.PLC.CONEX_2.INV2_MPPT2_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT2_IP_DC_VLT | Float
BLK01.PLC.CONEX_2.INV2_MPPT2_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT2_NEG_INS_IMP | Float
BLK01.PLC.CONEX_2.INV2_MPPT2_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV2_MPPT2_POS_INS_IMP | Float
BLK01.PLC.CONEX_2.INV2_PF | ns=2;s=BLK01.PLC.CONEX_2.INV2_PF | Float
BLK01.PLC.CONEX_2.INV2_R_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV2_R_PH_VLT | Float
BLK01.PLC.CONEX_2.INV2_REACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV2_REACT_PWR | Float
BLK01.PLC.CONEX_2.INV2_RUN_STS | ns=2;s=BLK01.PLC.CONEX_2.INV2_RUN_STS | Float
BLK01.PLC.CONEX_2.INV2_STS2 | ns=2;s=BLK01.PLC.CONEX_2.INV2_STS2 | Float
BLK01.PLC.CONEX_2.INV2_STS3 | ns=2;s=BLK01.PLC.CONEX_2.INV2_STS3 | Float
BLK01.PLC.CONEX_2.INV2_TOT_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV2_TOT_GEN | Float
BLK01.PLC.CONEX_2.INV2_Y_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV2_Y_PH_VLT | Float
BLK01.PLC.CONEX_2.INV2_TOT_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV2_TOT_RUN_TIME | Float
BLK01.PLC.CONEX_2.INV3_AB_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV3_AB_PH_VLT | Float
BLK01.PLC.CONEX_2.INV3_ACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV3_ACT_PWR | Float
BLK01.PLC.CONEX_2.INV3_ANN_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV3_ANN_GEN | Float
BLK01.PLC.CONEX_2.INV3_B_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV3_B_PH_VLT | Float
BLK01.PLC.CONEX_2.INV3_BC_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV3_BC_PH_VLT | Float
BLK01.PLC.CONEX_2.INV3_CA_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV3_CA_PH_VLT | Float
BLK01.PLC.CONEX_2.INV3_CAB_TEMP | ns=2;s=BLK01.PLC.CONEX_2.INV3_CAB_TEMP | Float
BLK01.PLC.CONEX_2.INV3_DC_BRK_STS | ns=2;s=BLK01.PLC.CONEX_2.INV3_DC_BRK_STS | Float
BLK01.PLC.CONEX_2.INV3_DC_PWR_IP | ns=2;s=BLK01.PLC.CONEX_2.INV3_DC_PWR_IP | Float
BLK01.PLC.CONEX_2.INV3_DLY_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV3_DLY_GEN | Float
BLK01.PLC.CONEX_2.INV3_DLY_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV3_DLY_RUN_TIME | Float
BLK01.PLC.CONEX_2.INV3_FRQ | ns=2;s=BLK01.PLC.CONEX_2.INV3_FRQ | Float
BLK01.PLC.CONEX_2.INV3_GRID_STS | ns=2;s=BLK01.PLC.CONEX_2.INV3_GRID_STS | Float
BLK01.PLC.CONEX_2.INV3_MPPT1_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT1_IP_DC_CRT | Float
BLK01.PLC.CONEX_2.INV3_MPPT1_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT1_IP_DC_PWR | Float
BLK01.PLC.CONEX_2.INV3_MPPT1_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT1_IP_DC_VLT | Float
BLK01.PLC.CONEX_2.INV3_MPPT1_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT1_NEG_INS_IMP | Float
BLK01.PLC.CONEX_2.INV3_MPPT1_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT1_POS_INS_IMP | Float
BLK01.PLC.CONEX_2.INV3_MPPT2_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT2_IP_DC_CRT | Float
BLK01.PLC.CONEX_2.INV3_MPPT2_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT2_IP_DC_PWR | Float
BLK01.PLC.CONEX_2.INV3_MPPT2_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT2_IP_DC_VLT | Float
BLK01.PLC.CONEX_2.INV3_MPPT2_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT2_NEG_INS_IMP | Float
BLK01.PLC.CONEX_2.INV3_MPPT2_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV3_MPPT2_POS_INS_IMP | Float
BLK01.PLC.CONEX_2.INV3_PF | ns=2;s=BLK01.PLC.CONEX_2.INV3_PF | Float
BLK01.PLC.CONEX_2.INV3_R_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV3_R_PH_VLT | Float
BLK01.PLC.CONEX_2.INV3_REACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV3_REACT_PWR | Float
BLK01.PLC.CONEX_2.INV3_RUN_STS | ns=2;s=BLK01.PLC.CONEX_2.INV3_RUN_STS | Float
BLK01.PLC.CONEX_2.INV3_STS2 | ns=2;s=BLK01.PLC.CONEX_2.INV3_STS2 | Float
BLK01.PLC.CONEX_2.INV3_STS3 | ns=2;s=BLK01.PLC.CONEX_2.INV3_STS3 | Float
BLK01.PLC.CONEX_2.INV3_TOT_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV3_TOT_GEN | Float
BLK01.PLC.CONEX_2.INV3_Y_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV3_Y_PH_VLT | Float
BLK01.PLC.CONEX_2.INV3_TOT_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV3_TOT_RUN_TIME | Float
BLK01.PLC.CONEX_2.INV4_AB_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV4_AB_PH_VLT | Float
BLK01.PLC.CONEX_2.INV4_ACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV4_ACT_PWR | Float
BLK01.PLC.CONEX_2.INV4_ANN_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV4_ANN_GEN | Float
BLK01.PLC.CONEX_2.INV4_B_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV4_B_PH_VLT | Float
BLK01.PLC.CONEX_2.INV4_BC_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV4_BC_PH_VLT | Float
BLK01.PLC.CONEX_2.INV4_CA_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV4_CA_PH_VLT | Float
BLK01.PLC.CONEX_2.INV4_CAB_TEMP | ns=2;s=BLK01.PLC.CONEX_2.INV4_CAB_TEMP | Float
BLK01.PLC.CONEX_2.INV4_DC_BRK_STS | ns=2;s=BLK01.PLC.CONEX_2.INV4_DC_BRK_STS | Float
BLK01.PLC.CONEX_2.INV4_DC_PWR_IP | ns=2;s=BLK01.PLC.CONEX_2.INV4_DC_PWR_IP | Float
BLK01.PLC.CONEX_2.INV4_DLY_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV4_DLY_GEN | Float
BLK01.PLC.CONEX_2.INV4_DLY_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV4_DLY_RUN_TIME | Float
BLK01.PLC.CONEX_2.INV4_FRQ | ns=2;s=BLK01.PLC.CONEX_2.INV4_FRQ | Float
BLK01.PLC.CONEX_2.INV4_GRID_STS | ns=2;s=BLK01.PLC.CONEX_2.INV4_GRID_STS | Float
BLK01.PLC.CONEX_2.INV4_MPPT1_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT1_IP_DC_CRT | Float
BLK01.PLC.CONEX_2.INV4_MPPT1_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT1_IP_DC_PWR | Float
BLK01.PLC.CONEX_2.INV4_MPPT1_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT1_IP_DC_VLT | Float
BLK01.PLC.CONEX_2.INV4_MPPT1_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT1_NEG_INS_IMP | Float
BLK01.PLC.CONEX_2.INV4_MPPT1_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT1_POS_INS_IMP | Float
BLK01.PLC.CONEX_2.INV4_MPPT2_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT2_IP_DC_CRT | Float
BLK01.PLC.CONEX_2.INV4_MPPT2_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT2_IP_DC_PWR | Float
BLK01.PLC.CONEX_2.INV4_MPPT2_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT2_IP_DC_VLT | Float
BLK01.PLC.CONEX_2.INV4_MPPT2_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT2_NEG_INS_IMP | Float
BLK01.PLC.CONEX_2.INV4_MPPT2_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV4_MPPT2_POS_INS_IMP | Float
BLK01.PLC.CONEX_2.INV4_PF | ns=2;s=BLK01.PLC.CONEX_2.INV4_PF | Float
BLK01.PLC.CONEX_2.INV4_R_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV4_R_PH_VLT | Float
BLK01.PLC.CONEX_2.INV4_REACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV4_REACT_PWR | Float
BLK01.PLC.CONEX_2.INV4_RUN_STS | ns=2;s=BLK01.PLC.CONEX_2.INV4_RUN_STS | Float
BLK01.PLC.CONEX_2.INV4_STS2 | ns=2;s=BLK01.PLC.CONEX_2.INV4_STS2 | Float
BLK01.PLC.CONEX_2.INV4_STS3 | ns=2;s=BLK01.PLC.CONEX_2.INV4_STS3 | Float
BLK01.PLC.CONEX_2.INV4_TOT_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV4_TOT_GEN | Float
BLK01.PLC.CONEX_2.INV4_Y_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV4_Y_PH_VLT | Float
BLK01.PLC.CONEX_2.INV4_TOT_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV4_TOT_RUN_TIME | Float
BLK01.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | Float
BLK01.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | Float
BLK01.PLC.CONEX_1.ACDB_MFM_Act_Pwr | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Act_Pwr | Float
BLK01.PLC.CONEX_1.ACDB_MFM_Avg_PF | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Avg_PF | Float
BLK01.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | Float
BLK01.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | Float
BLK01.PLC.CONEX_1.ACDB_MFM_BR_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_BR_Vlt | Float
BLK01.PLC.CONEX_1.ACDB_MFM_Device_Error | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Device_Error | Float
BLK01.PLC.CONEX_1.ACDB_MFM_Freq | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Freq | Float
BLK01.PLC.CONEX_1.ACDB_MFM_Neut_Crt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Neut_Crt | Float
BLK01.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | Float
BLK01.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | Float
BLK01.PLC.CONEX_1.ACDB_MFM_React_Pwr | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_React_Pwr | Float
BLK01.PLC.CONEX_1.ACDB_MFM_RY_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_RY_Vlt | Float
BLK01.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | Float
BLK01.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | Float
BLK01.PLC.CONEX_1.ACDB_MFM_YB_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_YB_Vlt | Float
BLK01.PLC.CONEX_1.ACDB_MFMApp_Pwr | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFMApp_Pwr | Float
BLK02.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | Float
BLK02.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | Float
BLK02.PLC.CONEX_1.ACDB_MFM_Act_Pwr | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_Act_Pwr | Float
BLK02.PLC.CONEX_1.ACDB_MFM_Avg_PF | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_Avg_PF | Float
BLK02.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | Float
BLK02.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | Float
BLK02.PLC.CONEX_1.ACDB_MFM_BR_Vlt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_BR_Vlt | Float
BLK02.PLC.CONEX_1.ACDB_MFM_Device_Error | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_Device_Error | Float
BLK02.PLC.CONEX_1.ACDB_MFM_Freq | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_Freq | Float
BLK02.PLC.CONEX_1.ACDB_MFM_Neut_Crt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_Neut_Crt | Float
BLK02.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | Float
BLK02.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | Float
BLK02.PLC.CONEX_1.ACDB_MFM_React_Pwr | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_React_Pwr | Float
BLK02.PLC.CONEX_1.ACDB_MFM_RY_Vlt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_RY_Vlt | Float
BLK02.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | Float
BLK02.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | Float
BLK02.PLC.CONEX_1.ACDB_MFM_YB_Vlt | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFM_YB_Vlt | Float
BLK02.PLC.CONEX_1.ACDB_MFMApp_Pwr | ns=2;s=BLK02.PLC.CONEX_1.ACDB_MFMApp_Pwr | Float
BLK03.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | Float
BLK03.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | Float
BLK03.PLC.CONEX_1.ACDB_MFM_Act_Pwr | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_Act_Pwr | Float
BLK03.PLC.CONEX_1.ACDB_MFM_Avg_PF | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_Avg_PF | Float
BLK03.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | Float
BLK03.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | Float
BLK03.PLC.CONEX_1.ACDB_MFM_BR_Vlt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_BR_Vlt | Float
BLK03.PLC.CONEX_1.ACDB_MFM_Device_Error | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_Device_Error | Float
BLK03.PLC.CONEX_1.ACDB_MFM_Freq | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_Freq | Float
BLK03.PLC.CONEX_1.ACDB_MFM_Neut_Crt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_Neut_Crt | Float
BLK03.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | Float
BLK03.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | Float
BLK03.PLC.CONEX_1.ACDB_MFM_React_Pwr | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_React_Pwr | Float
BLK03.PLC.CONEX_1.ACDB_MFM_RY_Vlt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_RY_Vlt | Float
BLK03.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | Float
BLK03.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | Float
BLK03.PLC.CONEX_1.ACDB_MFM_YB_Vlt | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFM_YB_Vlt | Float
BLK03.PLC.CONEX_1.ACDB_MFMApp_Pwr | ns=2;s=BLK03.PLC.CONEX_1.ACDB_MFMApp_Pwr | Float
BLK04.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | Float
BLK04.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | Float
BLK04.PLC.CONEX_1.ACDB_MFM_Act_Pwr | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_Act_Pwr | Float
BLK04.PLC.CONEX_1.ACDB_MFM_Avg_PF | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_Avg_PF | Float
BLK04.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | Float
BLK04.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | Float
BLK04.PLC.CONEX_1.ACDB_MFM_BR_Vlt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_BR_Vlt | Float
BLK04.PLC.CONEX_1.ACDB_MFM_Device_Error | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_Device_Error | Float
BLK04.PLC.CONEX_1.ACDB_MFM_Freq | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_Freq | Float
BLK04.PLC.CONEX_1.ACDB_MFM_Neut_Crt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_Neut_Crt | Float
BLK04.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | Float
BLK04.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | Float
BLK04.PLC.CONEX_1.ACDB_MFM_React_Pwr | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_React_Pwr | Float
BLK04.PLC.CONEX_1.ACDB_MFM_RY_Vlt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_RY_Vlt | Float
BLK04.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | Float
BLK04.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | Float
BLK04.PLC.CONEX_1.ACDB_MFM_YB_Vlt | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFM_YB_Vlt | Float
BLK04.PLC.CONEX_1.ACDB_MFMApp_Pwr | ns=2;s=BLK04.PLC.CONEX_1.ACDB_MFMApp_Pwr | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_TOT_EXP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_TOT_IMP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_AVG_PF | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_AVG_PF | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_BN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_BN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_BR_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_BR_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_FREQ | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_FREQ | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RCT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RCT_TOT_EXP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RCT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RCT_TOT_IMP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RY_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RY_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_YB_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_YB_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_YN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_YN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_ACT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_ACT_TOT_EXP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_ACT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_ACT_TOT_IMP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_AVG_PF | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_AVG_PF | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_B_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_B_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_B_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_B_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_B_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_B_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_B_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_B_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_BN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_BN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_BR_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_BR_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_FREQ | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_FREQ | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_R_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_R_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_R_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_R_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_R_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_R_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_R_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_R_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_RCT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_RCT_TOT_EXP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_RCT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_RCT_TOT_IMP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_RN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_RN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_RY_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_RY_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_Y_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_Y_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_Y_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_Y_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_Y_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_Y_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_Y_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_Y_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_YB_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_YB_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_YN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2_YN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_ACT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_ACT_TOT_EXP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_ACT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_ACT_TOT_IMP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_AVG_PF | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_AVG_PF | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_B_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_B_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_B_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_B_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_B_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_B_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_B_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_B_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_BN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_BN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_BR_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_BR_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_FREQ | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_FREQ | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_R_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_R_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_R_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_R_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_R_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_R_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_R_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_R_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_RCT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_RCT_TOT_EXP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_RCT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_RCT_TOT_IMP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_RN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_RN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_RY_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_RY_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_Y_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_Y_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_Y_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_Y_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_Y_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_Y_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_Y_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_Y_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_YB_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_YB_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_YN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3_YN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_ACT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_ACT_TOT_EXP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_ACT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_ACT_TOT_IMP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_AVG_PF | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_AVG_PF | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_B_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_B_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_B_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_B_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_B_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_B_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_B_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_B_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_BN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_BN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_BR_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_BR_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_FREQ | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_FREQ | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_R_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_R_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_R_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_R_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_R_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_R_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_R_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_R_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_RCT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_RCT_TOT_EXP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_RCT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_RCT_TOT_IMP_EGY | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_RN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_RN_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_RY_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_RY_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_Y_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_Y_PH_ACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_Y_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_Y_PH_APP_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_Y_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_Y_PH_CRT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_Y_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_Y_PH_REACT_PWR | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_YB_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_YB_VOLT | Float
HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_YN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4_YN_VOLT | Float
BLK01.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | Boolean
BLK01.PLC.CONEX_1.INV_TRAFO_MOG_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_MOG_ALM | Boolean
BLK01.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | Boolean
BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | Boolean
BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | Boolean
BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | Boolean
BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | Boolean
BLK01.PLC.CONEX_1.WTI_LV1_TEMP | ns=2;s=BLK01.PLC.CONEX_1.WTI_LV1_TEMP | Double
BLK01.PLC.CONEX_1.WTI_LV2_TEMP | ns=2;s=BLK01.PLC.CONEX_1.WTI_LV2_TEMP | Double
BLK01.PLC.CONEX_1.WTI_LV3_TEMP | ns=2;s=BLK01.PLC.CONEX_1.WTI_LV3_TEMP | Double
BLK01.PLC.CONEX_1.WTI_LV4_TEMP | ns=2;s=BLK01.PLC.CONEX_1.WTI_LV4_TEMP | Double
BLK01.PLC.CONEX_1.OTI_TEMP | ns=2;s=BLK01.PLC.CONEX_1.OTI_TEMP | Double
BLK02.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | ns=2;s=BLK02.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | Boolean
BLK02.PLC.CONEX_1.INV_TRAFO_MOG_ALM | ns=2;s=BLK02.PLC.CONEX_1.INV_TRAFO_MOG_ALM | Boolean
BLK02.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | ns=2;s=BLK02.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | Boolean
BLK02.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | ns=2;s=BLK02.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | Boolean
BLK02.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | ns=2;s=BLK02.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | Boolean
BLK02.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | ns=2;s=BLK02.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | Boolean
BLK02.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | ns=2;s=BLK02.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | Boolean
BLK02.PLC.CONEX_1.WTI_LV1_TEMP | ns=2;s=BLK02.PLC.CONEX_1.WTI_LV1_TEMP | Double
BLK02.PLC.CONEX_1.WTI_LV2_TEMP | ns=2;s=BLK02.PLC.CONEX_1.WTI_LV2_TEMP | Double
BLK02.PLC.CONEX_1.WTI_LV3_TEMP | ns=2;s=BLK02.PLC.CONEX_1.WTI_LV3_TEMP | Double
BLK02.PLC.CONEX_1.WTI_LV4_TEMP | ns=2;s=BLK02.PLC.CONEX_1.WTI_LV4_TEMP | Double
BLK02.PLC.CONEX_1.OTI_TEMP | ns=2;s=BLK02.PLC.CONEX_1.OTI_TEMP | Double
BLK03.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | ns=2;s=BLK03.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | Boolean
BLK03.PLC.CONEX_1.INV_TRAFO_MOG_ALM | ns=2;s=BLK03.PLC.CONEX_1.INV_TRAFO_MOG_ALM | Boolean
BLK03.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | ns=2;s=BLK03.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | Boolean
BLK03.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | ns=2;s=BLK03.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | Boolean
BLK03.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | ns=2;s=BLK03.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | Boolean
BLK03.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | ns=2;s=BLK03.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | Boolean
BLK03.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | ns=2;s=BLK03.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | Boolean
BLK03.PLC.CONEX_1.WTI_LV1_TEMP | ns=2;s=BLK03.PLC.CONEX_1.WTI_LV1_TEMP | Double
BLK03.PLC.CONEX_1.WTI_LV2_TEMP | ns=2;s=BLK03.PLC.CONEX_1.WTI_LV2_TEMP | Double
BLK03.PLC.CONEX_1.WTI_LV3_TEMP | ns=2;s=BLK03.PLC.CONEX_1.WTI_LV3_TEMP | Double
BLK03.PLC.CONEX_1.WTI_LV4_TEMP | ns=2;s=BLK03.PLC.CONEX_1.WTI_LV4_TEMP | Double
BLK03.PLC.CONEX_1.OTI_TEMP | ns=2;s=BLK03.PLC.CONEX_1.OTI_TEMP | Double
BLK04.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | ns=2;s=BLK04.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | Boolean
BLK04.PLC.CONEX_1.INV_TRAFO_MOG_ALM | ns=2;s=BLK04.PLC.CONEX_1.INV_TRAFO_MOG_ALM | Boolean
BLK04.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | ns=2;s=BLK04.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | Boolean
BLK04.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | ns=2;s=BLK04.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | Boolean
BLK04.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | ns=2;s=BLK04.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | Boolean
BLK04.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | ns=2;s=BLK04.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | Boolean
BLK04.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | ns=2;s=BLK04.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | Boolean
BLK04.PLC.CONEX_1.WTI_LV1_TEMP | ns=2;s=BLK04.PLC.CONEX_1.WTI_LV1_TEMP | Double
BLK04.PLC.CONEX_1.WTI_LV2_TEMP | ns=2;s=BLK04.PLC.CONEX_1.WTI_LV2_TEMP | Double
BLK04.PLC.CONEX_1.WTI_LV3_TEMP | ns=2;s=BLK04.PLC.CONEX_1.WTI_LV3_TEMP | Double
BLK04.PLC.CONEX_1.WTI_LV4_TEMP | ns=2;s=BLK04.PLC.CONEX_1.WTI_LV4_TEMP | Double
BLK04.PLC.CONEX_1.OTI_TEMP | ns=2;s=BLK04.PLC.CONEX_1.OTI_TEMP | Double
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.AMB_TEMP | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.AMB_TEMP | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.BAR_PRS_GAUGE | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.BAR_PRS_GAUGE | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CLOUD_CVR_SEN | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CLOUD_CVR_SEN | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUM_GHI_IRR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUM_GHI_IRR | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUM_GTI_IRR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUM_GTI_IRR | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUMM_GHI2 | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUMM_GHI2 | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DHI | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DHI | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DIR_BEAM_SOL_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DIR_BEAM_SOL_EGY | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DIR_BEAM_SOL_IRR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DIR_BEAM_SOL_IRR | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GHI | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GHI | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GLO_SUM_IRR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GLO_SUM_IRR | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GTI | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GTI | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.PYR_TEMP | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.PYR_TEMP | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.PYRANAMETER_2 | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.PYRANAMETER_2 | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.RAIN | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.RAIN | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.REL_HUM | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.REL_HUM | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.SOLAR_ENERGY_DIFFUSE | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.SOLAR_ENERGY_DIFFUSE | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.SUN_RISE_SET_TIME | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.SUN_RISE_SET_TIME | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.WND_DIR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.WND_DIR | Float
HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.WND_SPD | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.WND_SPD | Float

## Data Model
Server URL
Data Model- OPC Protocol |  |  | User Name | None | Scan Interval | -
|  |  | Password | None |  | -
Template Name | Scada Device Name | imr Device Name | SCADA Tag Name | Address | Prescinto Tag Name | Data Type | Calculation | Scale | Unit | Data Type Description | Check | Function | Formula
Inverter | BLK01.PLC.CONEX_2.INV1 | BLK01-INV01 | BLK01.PLC.CONEX_2.INV1_AB_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_AB_PH_VLT | AC line Voltage 12 | Float
Inverter | BLK01.PLC.CONEX_2.INV2 | BLK01-INV02 | BLK01.PLC.CONEX_2.INV1_ACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV1_ACT_PWR | Active Power | Float
Inverter | BLK01.PLC.CONEX_2.INV3 | BLK01-INV03 | BLK01.PLC.CONEX_2.INV1_ANN_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV1_ANN_GEN |  | Float
Inverter | BLK01.PLC.CONEX_2.INV4 | BLK01-INV04 | BLK01.PLC.CONEX_2.INV1_B_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_B_PH_VLT | AC Voltage Phase 3 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_BC_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_BC_PH_VLT | AC line Voltage 23 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_CA_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_CA_PH_VLT | AC line Voltage 31 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_CAB_TEMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_CAB_TEMP | Cabinet Temperature | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_DC_BRK_STS | ns=2;s=BLK01.PLC.CONEX_2.INV1_DC_BRK_STS |  | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_DC_PWR_IP | ns=2;s=BLK01.PLC.CONEX_2.INV1_DC_PWR_IP | PV power | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_DLY_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV1_DLY_GEN | Daily Energy | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_DLY_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV1_DLY_RUN_TIME | Daily Operating Time | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_FRQ | ns=2;s=BLK01.PLC.CONEX_2.INV1_FRQ | Frequency | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_GRID_STS | ns=2;s=BLK01.PLC.CONEX_2.INV1_GRID_STS |  | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_CRT | MPPT Current 1 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_PWR | MPPT Power 1 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_IP_DC_VLT | MPPT Voltage 1 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT1_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_NEG_INS_IMP |  | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT1_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT1_POS_INS_IMP |  | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_CRT | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_CRT | MPPT Current 2 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_PWR | MPPT Power 2 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_IP_DC_VLT | MPPT Voltage 2 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT2_NEG_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_NEG_INS_IMP |  | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_MPPT2_POS_INS_IMP | ns=2;s=BLK01.PLC.CONEX_2.INV1_MPPT2_POS_INS_IMP |  | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_PF | ns=2;s=BLK01.PLC.CONEX_2.INV1_PF | Power factor | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_R_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_R_PH_VLT | AC Voltage Phase 1 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_REACT_PWR | ns=2;s=BLK01.PLC.CONEX_2.INV1_REACT_PWR | Reactive Power | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_RUN_STS | ns=2;s=BLK01.PLC.CONEX_2.INV1_RUN_STS | Inverter Status | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_STS2 | ns=2;s=BLK01.PLC.CONEX_2.INV1_STS2 | Fault 2 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_STS3 | ns=2;s=BLK01.PLC.CONEX_2.INV1_STS3 | Fault 3 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_TOT_GEN | ns=2;s=BLK01.PLC.CONEX_2.INV1_TOT_GEN | Total Energy | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_Y_PH_VLT | ns=2;s=BLK01.PLC.CONEX_2.INV1_Y_PH_VLT | AC Voltage Phase 2 | Float
Inverter |  |  | BLK01.PLC.CONEX_2.INV1_TOT_RUN_TIME | ns=2;s=BLK01.PLC.CONEX_2.INV1_TOT_RUN_TIME | Total Operating Time | Float
Inverter |  |  |  |  | Status |  | Nile
Inverter |  |  |  |  | Expected Power |  | Nile
Inverter |  |  |  |  | Expected Energy |  | Nile
Inverter |  |  |  |  | Specific Power |  | Nile
Inverter |  |  |  |  | Specific Energy |  | Nile
Inverter |  |  |  |  | Efficiency |  | Nile
Inverter |  |  |  |  | PR |  | Nile
MFM | BLK01.PLC.CONEX_1.ACDB_MFM | BLK01_ACDB-MFM | BLK01.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Exp | Active Export Energy | Float
MFM | BLK02.PLC.CONEX_1.ACDB_MFM | BLK02_ACDB-MFM | BLK01.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Act_Eng_Tot_Imp | Active Import Energy | Float
MFM | BLK03.PLC.CONEX_1.ACDB_MFM | BLK03_ACDB-MFM | BLK01.PLC.CONEX_1.ACDB_MFM_Act_Pwr | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Act_Pwr | Active Power | Float
MFM | BLK04.PLC.CONEX_1.ACDB_MFM | BLK04_ACDB-MFM | BLK01.PLC.CONEX_1.ACDB_MFM_Avg_PF | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Avg_PF | Power Factor | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_B_Phs_Crt | AC Current Phase 3 | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_B_Phs_N_Vlt | AC Voltage Phase 3 | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_BR_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_BR_Vlt | AC Line Volatge 31 | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_Device_Error | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Device_Error |  | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_Freq | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Freq | Frequency | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_Neut_Crt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Neut_Crt |  | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_R_Phs_Crt | AC Current Phase 1 | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_R_Phs_N_Vlt | AC Voltage Phase 1 | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_React_Pwr | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_React_Pwr | Reactive Power | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_RY_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_RY_Vlt | AC Line Volatge 12 | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Y_Phs_Crt | AC Current Phase 2 | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_Y_Phs_N_Vlt | AC Voltage Phase 2 | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_YB_Vlt | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_YB_Vlt | AC Line Volatge 23 | Float
MFM |  |  | BLK01.PLC.CONEX_1.ACDB_MFM_App_Pwr | ns=2;s=BLK01.PLC.CONEX_1.ACDB_MFM_App_Pwr | Apparent Power | Float
MFM |  |  |  |  | Total Energy |  | Nile
MFM |  |  |  |  | Daily Energy |  | Nile
MFM | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1 | INC-MFM01 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_PWR | Active Power | Float
MFM | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2 | INC-MFM02 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_TOT_EXP_EGY | Active Export Energy | Float
MFM | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3 | INC-MFM03 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_ACT_TOT_IMP_EGY | Active Import Energy | Float
MFM | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4 | INC-MFM04 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_APP_PWR | Apparent Power | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_AVG_PF | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_AVG_PF | Power Factor | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_ACT_PWR | AC power phase 3 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_APP_PWR | Apparent Power Phase 3 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_CRT | AC Current Phase 3 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_B_PH_REACT_PWR | Reactive Power Phase 3 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_BN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_BN_VOLT | AC Voltage Phase 3 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_BR_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_BR_VOLT | AC Line Volatge 31 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_FREQ | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_FREQ | Frequency | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_ACT_PWR | AC power phase 1 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_APP_PWR | Apparent Power Phase 1 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_CRT | AC Current Phase 1 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_R_PH_REACT_PWR | Reactive Power Phase 1 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RCT_TOT_EXP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RCT_TOT_EXP_EGY | Reactive Export Energy | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RCT_TOT_IMP_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RCT_TOT_IMP_EGY | Reactive Import Energy | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_REACT_PWR | Reactive Power | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RN_VOLT | AC Voltage Phase 1 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RY_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_RY_VOLT | AC Line Volatge 12 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_ACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_ACT_PWR | AC power phase 2 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_APP_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_APP_PWR | Apparent Power Phase 2 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_CRT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_CRT | AC Current Phase 2 | Float | DE (Nile)
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_REACT_PWR | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_Y_PH_REACT_PWR | Reactive Power Phase 2 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_YB_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_YB_VOLT | AC Line Volatge 23 | Float
MFM |  |  | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_YN_VOLT | ns=2;s=HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1_YN_VOLT | AC Voltage Phase 2 | Float
MFM |  |  |  |  | Total Energy
MFM |  |  |  |  | Daily Energy
Trafo | BLK01.PLC.CONEX_1 | BLK01-TRF | BLK01.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_BUCH_ALM | Buchholz Alarm | Boolean
Trafo | BLK02.PLC.CONEX_1 | BLK02-TRF | BLK01.PLC.CONEX_1.INV_TRAFO_MOG_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_MOG_ALM | MOG ALM | Boolean
Trafo | BLK03.PLC.CONEX_1 | BLK03-TRF | BLK01.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_OTI_HI_ALM | OTI ALM | Boolean
Trafo | BLK04.PLC.CONEX_1 | BLK04-TRF | BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV1_HI_ALM | WTI LV1 ALM | Boolean
Trafo |  |  | BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV2_HI_ALM | WTI LV2 ALM | Boolean
Trafo |  |  | BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV3_HI_ALM | WTI LV3 ALM | Boolean
Trafo |  |  | BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | ns=2;s=BLK01.PLC.CONEX_1.INV_TRAFO_WTI_LV4_HI_ALM | WTI LV4 ALM | Boolean
Trafo |  |  | BLK01.PLC.CONEX_1.WTI_LV1_TEMP | ns=2;s=BLK01.PLC.CONEX_1.WTI_LV1_TEMP | WTI LV1 TEMP | Double
Trafo |  |  | BLK01.PLC.CONEX_1.WTI_LV2_TEMP | ns=2;s=BLK01.PLC.CONEX_1.WTI_LV2_TEMP | WTI LV2 TEMP | Double
Trafo |  |  | BLK01.PLC.CONEX_1.WTI_LV3_TEMP | ns=2;s=BLK01.PLC.CONEX_1.WTI_LV3_TEMP | WTI LV3 TEMP | Double
Trafo |  |  | BLK01.PLC.CONEX_1.WTI_LV4_TEMP | ns=2;s=BLK01.PLC.CONEX_1.WTI_LV4_TEMP | WTI LV4 TEMP | Double
Trafo |  |  | BLK01.PLC.CONEX_1.OTI_TEMP | ns=2;s=BLK01.PLC.CONEX_1.OTI_TEMP | OTI TEMP | Double
HT-panel | BLK01.PLC.CONEX_1 | BLK01-HT | BLK01.PLC.CONEX_1.VCB_CLS_STS | ns=2;s=BLK01.PLC.CONEX_1.VCB_CLS_STS | CB_Off | Boolean
HT-panel | BLK02.PLC.CONEX_1 | BLK02-HT | BLK01.PLC.CONEX_1.VCB_OPN_STS | ns=2;s=BLK01.PLC.CONEX_1.VCB_OPN_STS | CB_On | Boolean
HT-panel | BLK03.PLC.CONEX_1 | BLK03-HT | BLK01.PLC.PROEX_1.VCB_CLS_CMD | ns=2;s=BLK01.PLC.PROEX_1.VCB_CLS_CMD | CB_CLOSE_STATUS | Boolean
HT-panel | BLK04.PLC.CONEX_1 | BLK04-HT | BLK01.PLC.PROEX_1.VCB_OPN_CMD | ns=2;s=BLK01.PLC.PROEX_1.VCB_OPN_CMD | CB_OPEN_STATUS | Boolean
HT-panel |  |  | BLK01.PLC.CONEX_1.MAST_TRP_OPTD | ns=2;s=BLK01.PLC.CONEX_1.MAST_TRP_OPTD | Master Relay Trip | Boolean
HT-panel |  |  | BLK01.PLC.CONEX_1.DC_FAIL_STS | ns=2;s=BLK01.PLC.CONEX_1.DC_FAIL_STS | DC FAIL | Boolean
HT-panel |  |  | BLK01.PLC.CONEX_1.PWR_SPY_FAIL_ALM | ns=2;s=BLK01.PLC.CONEX_1.PWR_SPY_FAIL_ALM | AC Supply Fail | Boolean
HT-panel |  |  | BLK01.PLC.CONEX_1.RLY_FAIL | ns=2;s=BLK01.PLC.CONEX_1.RLY_FAIL | RLY_FAIL | Boolean
WS | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1 | WMS | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.AMB_TEMP | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.AMB_TEMP | Ambient Temperature
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.BAR_PRS_GAUGE | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.BAR_PRS_GAUGE
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CLOUD_CVR_SEN | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CLOUD_CVR_SEN | Cloud Cover
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUM_GHI_IRR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUM_GHI_IRR | Daily GHI energy
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUM_GTI_IRR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUM_GTI_IRR | Daily POA Energy
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUMM_GHI2 | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.CUMM_GHI2
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DHI | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DHI | Diffused Horizontal Irradiance
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DIR_BEAM_SOL_EGY | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DIR_BEAM_SOL_EGY
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DIR_BEAM_SOL_IRR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.DIR_BEAM_SOL_IRR
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GHI | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GHI | GH Irradiance
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GLO_SUM_IRR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GLO_SUM_IRR
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GTI | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.GTI | POA Irradiance
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.PYR_TEMP | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.PYR_TEMP
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.PYRANAMETER_2 | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.PYRANAMETER_2
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.RAIN | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.RAIN | Rain Fall
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.REL_HUM | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.REL_HUM | Humidity
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.SOLAR_ENERGY_DIFFUSE | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.SOLAR_ENERGY_DIFFUSE
WS |  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.SUN_RISE_SET_TIME | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.SUN_RISE_SET_TIME
|  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.WND_DIR | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.WND_DIR | Wind Direction
|  |  | HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.WND_SPD | ns=2;s=HILD_150MW.HILD_150MW.MCR_WMS_CONEX_1.WND_SPD | Wind Speed
WS |  |  |  |  | Daily POA Energy
WS |  |  |  |  | Daily GHI Energy
Plant |  | DEVIKOT-150 |  | Daily Energy
Plant |  |  |  | PR
Plant |  |  |  | GHI Irradiance
Plant |  |  |  | POA Irradiance
Plant |  |  |  | Ambient Temperature
Plant |  |  |  | Module Temperature
Plant |  |  |  | CUF
Plant |  |  |  | Active Power
Plant |  |  |  | Reactive Power
Plant |  |  |  | Total Energy
Plant |  |  |  | Daily POA Energy
Plant |  |  |  | Daily GHI Energy
Plant |  |  |  | Daily Active Export Energy
Plant |  |  |  | Daily Active Import Energy
Plant |  |  |  | Specific Power
Plant |  |  |  | DC CUF
Plant |  |  |  | Specific Energy
Plant |  |  |  | Temp Corrected PR
Plant |  |  |  | Expected Power
Plant |  |  |  | Expected Energy
Plant |  |  |  | EPI
Plant |  |  |  | PPI

## Automation
Template | ProjectId | Server | ServerId | SampleServer | Network | SampleNetwork | NewNetwork | Device | SampleDevice | NetworkId | NId | DeviceId | DId | Index | Allotment | Create | Action | Datetime | Protocol | MachineName | ProgramId | IPAddress | SlaveId | Port | IdentifierId | Weightage | DCCapacity | ACCapacity | Location | Latitude | Longitude | ParentDeviceName | AliasName | checkDs | DSReplaceDevice | DS_Count | DSDevice_1 | DSDevice_2 | DS_Changes | DS_Source1 | DS_Replace1 | DS_Source2 | DS_Replace2 | OT_Changes | OT_Source1 | OT_Replace1
Datasource | 3458 | Server 1 | 1 | Server 1 | DataSource | DataSource | DataSource | Device 1 | Device 1 | 10001000000000 | 1 | 10001001000000 | 1 | 1 | Allotted | TRUE | CREATED
Plant | 3458 | Server 1 | 1 | Server 1 | Plant | Plant | Plant | Devikot-2 | Devikot-2 | 10010000000000 | 10 | 10010001000000 | 1 | 1 | Allotted | TRUE | CREATED
Inverter | 3458 | Server 1 | 1 | Server 1 | Inverter | Inverter | Inverter | BLK01-INV01 | BLK01-INV01 | 10002000000000 | 2 | 10002001000000 | 1 | 1 | Allotted | TRUE | CREATED
MFM | 3458 | Server 1 | 1 | Server 1 | MFM | MFM | MFM | BLK01_ACDB-MFM | BLK01_ACDB-MFM | 10004000000000 | 4 | 10004001000000 | 1 | 1 | Allotted | TRUE | CREATED
MFM | 3458 | Server 1 | 1 | Server 1 | MFM | MFM | MFM | INC-MFM01 | INC-MFM01 | 10004000000000 | 4 | 10004015000000 | 15 | 1 | Allotted | TRUE | CREATED
Trafo | 3458 | Server 1 | 1 | Server 1 | Trafo | Trafo | Trafo | BLK01-TRF | BLK01-TRF | 10006000000000 | 6 | 10006001000000 | 1 | 1 | Allotted | TRUE | CREATED
HT PANEL | 3458 | Server 1 | 1 | Server 1 | HT PANEL | HT PANEL | HT PANEL | BLK01-HT | BLK01-HT | 10007000000000 | 7 | 10007001000000 | 1 | 1 | Allotted | TRUE | CREATED
WS | 3458 | Server 1 | 1 | Server 1 | WS | WS | WS | BLK01-WMS | BLK01-WMS | 10008000000000 | 8 | 10008001000000 | 1 | 1 | Allotted | TRUE | CREATED
Inverter | 3458 | Server 1 | 1 | Server 1 | Inverter | Inverter | Inverter | BLK01-INV02 | BLK01-INV01 | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_2.INV1 | BLK01.PLC.CONEX_2.INV2
Inverter | 3458 | Server 1 | 1 | Server 1 | Inverter | Inverter | Inverter | BLK01-INV03 | BLK01-INV01 | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_2.INV1 | BLK01.PLC.CONEX_2.INV3
Inverter | 3458 | Server 1 | 1 | Server 1 | Inverter | Inverter | Inverter | BLK01-INV04 | BLK01-INV01 | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_2.INV1 | BLK01.PLC.CONEX_2.INV4
MFM | 3458 | Server 1 | 1 | Server 1 | MFM | MFM | MFM | BLK02_ACDB-MFM | BLK01_ACDB-MFM | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_1.ACDB_MFM | BLK02.PLC.CONEX_1.ACDB_MFM
MFM | 3458 | Server 1 | 1 | Server 1 | MFM | MFM | MFM | BLK03_ACDB-MFM | BLK01_ACDB-MFM | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_1.ACDB_MFM | BLK03.PLC.CONEX_1.ACDB_MFM
MFM | 3458 | Server 1 | 1 | Server 1 | MFM | MFM | MFM | BLK04_ACDB-MFM | BLK01_ACDB-MFM | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_1.ACDB_MFM | BLK04.PLC.CONEX_1.ACDB_MFM
MFM | 3458 | Server 1 | 1 | Server 1 | MFM | MFM | MFM | INC-MFM02 | INC-MFM01 | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM2
MFM | 3458 | Server 1 | 1 | Server 1 | MFM | MFM | MFM | INC-MFM03 | INC-MFM01 | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM3
MFM | 3458 | Server 1 | 1 | Server 1 | MFM | MFM | MFM | INC-MFM04 | INC-MFM01 | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM1 | HILD_150MW.HILD_150MW.MCR_CONV1_PROD.INC_MFM4
Trafo | 3458 | Server 1 | 1 | Server 1 | Trafo | Trafo | Trafo | BLK02-TRF | BLK01-TRF | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_1 | BLK02.PLC.CONEX_1
Trafo | 3458 | Server 1 | 1 | Server 1 | Trafo | Trafo | Trafo | BLK03-TRF | BLK01-TRF | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_1 | BLK03.PLC.CONEX_1
Trafo | 3458 | Server 1 | 1 | Server 1 | Trafo | Trafo | Trafo | BLK04-TRF | BLK01-TRF | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_1 | BLK04.PLC.CONEX_1
HT PANEL | 3458 | Server 1 | 1 | Server 1 | HT PANEL | HT PANEL | HT PANEL | BLK02-HT | BLK01-HT | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_1 | BLK02.PLC.CONEX_1
HT PANEL | 3458 | Server 1 | 1 | Server 1 | HT PANEL | HT PANEL | HT PANEL | BLK03-HT | BLK01-HT | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_1 | BLK03.PLC.CONEX_1
HT PANEL | 3458 | Server 1 | 1 | Server 1 | HT PANEL | HT PANEL | HT PANEL | BLK04-HT | BLK01-HT | [6 empty] | TRUE |  |  | OPCUA | [19 empty] | 1 | BLK01.PLC.CONEX_1 | BLK04.PLC.CONEX_1